## NPV Comparison
UPFC | HPFC
93 | 10 | Converter ratings [MVA]
0 | 74 | Reactive compensation ratings [MVAr]
13.95 | 4.46 | Initial Investment [$M]
150 | 200 | Delta Power [MW]
3.7634 | 3.7634 | Losses [%]
20 | 20 | Valuation of losses [$/MWh]
40 | 40 | Capacity Factor [%]
10 | 10 | Delta Energy Value [$/MWh]
10 | 10 | Hurdle rate [%/year compounded monthly]
17.6473 | 39.5656 | 10 year NPV [$M]
40 | 8 | Payback Period [months]
26.5036 | 787.1221 | 10 year ROI [%]
2.3533 | 22.0279 | Annual interest rate yieding the same ROI [%]
Month | Discounted cash flow UPFC [$k] | Discounted cash flow HPFC [$k] | UPFC NPV [$M] | HPFC NPV [$M] | Month for VLOOKUP
0 |  |  | -13.95 | -4.46
1 | 414.1091 | 576.9939 | -13.5359 | -3.883 | 1
2 | 410.6867 | 572.2253 | -13.1252 | -3.3108 | 2
3 | 407.2926 | 567.4962 | -12.7179 | -2.7433 | 3
4 | 403.9265 | 562.8061 | -12.314 | -2.1805 | 4
5 | 400.5883 | 558.1548 | -11.9134 | -1.6223 | 5
6 | 397.2777 | 553.542 | -11.5161 | -1.0688 | 6
7 | 393.9944 | 548.9673 | -11.1221 | -0.51981 | 7
8 | 390.7382 | 544.4304 | -10.7314 | 0.024616 | 8
9 | 387.509 | 539.9309 | -10.3439 | 0.56455 | 9
10 | 384.3064 | 535.4687 | -9.9596 | 1.1 | 10
11 | 381.1303 | 531.0433 | -9.5784 | 1.6311 | 11
12 | 377.9805 | 526.6545 | -9.2005 | 2.1577 | 12
13 | 374.8567 | 522.302 | -8.8256 | 2.68 | 13
14 | 371.7587 | 517.9855 | -8.4538 | 3.198 | 14
15 | 368.6863 | 513.7046 | -8.0852 | 3.7117 | 15
16 | 365.6393 | 509.4591 | -7.7195 | 4.2212 | 16
17 | 362.6175 | 505.2487 | -7.3569 | 4.7264 | 17
18 | 359.6207 | 501.0731 | -6.9973 | 5.2275 | 18
19 | 356.6486 | 496.932 | -6.6406 | 5.7244 | 19
20 | 353.7011 | 492.8251 | -6.2869 | 6.2172 | 20
21 | 350.7779 | 488.7522 | -5.9362 | 6.706 | 21
22 | 347.879 | 484.7129 | -5.5883 | 7.1907 | 22
23 | 345.0039 | 480.707 | -5.2433 | 7.6714 | 23
24 | 342.1526 | 476.7342 | -4.9011 | 8.1481 | 24
25 | 339.3249 | 472.7943 | -4.5618 | 8.6209 | 25
26 | 336.5206 | 468.8869 | -4.2253 | 9.0898 | 26
27 | 333.7394 | 465.0118 | -3.8915 | 9.5548 | 27
28 | 330.9813 | 461.1687 | -3.5606 | 10.016 | 28
29 | 328.2459 | 457.3574 | -3.2323 | 10.4734 | 29
30 | 325.5331 | 453.5776 | -2.9068 | 10.9269 | 30
31 | 322.8427 | 449.829 | -2.5839 | 11.3768 | 31
32 | 320.1746 | 446.1114 | -2.2638 | 11.8229 | 32
33 | 317.5286 | 442.4246 | -1.9462 | 12.2653 | 33
34 | 314.9044 | 438.7682 | -1.6313 | 12.7041 | 34
35 | 312.3018 | 435.142 | -1.319 | 13.1392 | 35
36 | 309.7208 | 431.5458 | -1.0093 | 13.5708 | 36
37 | 307.1612 | 427.9793 | -0.70214 | 13.9987 | 37
38 | 304.6226 | 424.4422 | -0.39752 | 14.4232 | 38
39 | 302.1051 | 420.9345 | -0.095411 | 14.8441 | 39
40 | 299.6084 | 417.4557 | 0.2042 | 15.2616 | 40
41 | 297.1323 | 414.0056 | 0.50133 | 15.6756 | 41
42 | 294.6766 | 410.5841 | 0.79601 | 16.0862 | 42
43 | 292.2413 | 407.1908 | 1.0882 | 16.4934 | 43
44 | 289.8261 | 403.8256 | 1.3781 | 16.8972 | 44
45 | 287.4308 | 400.4882 | 1.6655 | 17.2977 | 45
46 | 285.0553 | 397.1784 | 1.9506 | 17.6949 | 46
47 | 282.6995 | 393.8959 | 2.2333 | 18.0887 | 47
48 | 280.3631 | 390.6406 | 2.5136 | 18.4794 | 48
49 | 278.0461 | 387.4121 | 2.7917 | 18.8668 | 49
50 | 275.7482 | 384.2104 | 3.0674 | 19.251 | 50
51 | 273.4693 | 381.0351 | 3.3409 | 19.632 | 51
52 | 271.2092 | 377.8861 | 3.6121 | 20.0099 | 52
53 | 268.9678 | 374.763 | 3.8811 | 20.3847 | 53
54 | 266.7449 | 371.6658 | 4.1478 | 20.7564 | 54
55 | 264.5404 | 368.5942 | 4.4123 | 21.125 | 55
56 | 262.3541 | 365.548 | 4.6747 | 21.4905 | 56
57 | 260.1859 | 362.5269 | 4.9349 | 21.853 | 57
58 | 258.0356 | 359.5308 | 5.1929 | 22.2126 | 58
59 | 255.9031 | 356.5595 | 5.4488 | 22.5691 | 59
60 | 253.7882 | 353.6127 | 5.7026 | 22.9227 | 60
61 | 251.6908 | 350.6903 | 5.9543 | 23.2734 | 61
62 | 249.6107 | 347.792 | 6.2039 | 23.6212 | 62
63 | 247.5478 | 344.9177 | 6.4515 | 23.9661 | 63
64 | 245.5019 | 342.0671 | 6.697 | 24.3082 | 64
65 | 243.473 | 339.2401 | 6.9404 | 24.6474 | 65
66 | 241.4608 | 336.4365 | 7.1819 | 24.9839 | 66
67 | 239.4653 | 333.656 | 7.4214 | 25.3175 | 67
68 | 237.4862 | 330.8986 | 7.6589 | 25.6484 | 68
69 | 235.5235 | 328.1639 | 7.8944 | 25.9766 | 69
70 | 233.5771 | 325.4518 | 8.128 | 26.302 | 70
71 | 231.6467 | 322.7621 | 8.3596 | 26.6248 | 71
72 | 229.7322 | 320.0946 | 8.5893 | 26.9449 | 72
73 | 227.8336 | 317.4492 | 8.8172 | 27.2624 | 73
74 | 225.9507 | 314.8257 | 9.0431 | 27.5772 | 74
75 | 224.0833 | 312.2238 | 9.2672 | 27.8894 | 75
76 | 222.2314 | 309.6434 | 9.4894 | 28.199 | 76
77 | 220.3948 | 307.0844 | 9.7098 | 28.5061 | 77
78 | 218.5733 | 304.5465 | 9.9284 | 28.8107 | 78
79 | 216.767 | 302.0296 | 10.1452 | 29.1127 | 79
80 | 214.9755 | 299.5335 | 10.3601 | 29.4122 | 80
81 | 213.1988 | 297.058 | 10.5733 | 29.7093 | 81
82 | 211.4369 | 294.603 | 10.7848 | 30.0039 | 82
83 | 209.6894 | 292.1682 | 10.9945 | 30.2961 | 83
84 | 207.9565 | 289.7536 | 11.2024 | 30.5858 | 84
85 | 206.2378 | 287.359 | 11.4087 | 30.8732 | 85
86 | 204.5334 | 284.9841 | 11.6132 | 31.1582 | 86
87 | 202.843 | 282.6289 | 11.816 | 31.4408 | 87
88 | 201.1666 | 280.2931 | 12.0172 | 31.7211 | 88
89 | 199.5041 | 277.9766 | 12.2167 | 31.9991 | 89
90 | 197.8553 | 275.6793 | 12.4146 | 32.2747 | 90
91 | 196.2201 | 273.4009 | 12.6108 | 32.5481 | 91
92 | 194.5985 | 271.1414 | 12.8054 | 32.8193 | 92
93 | 192.9902 | 268.9006 | 12.9984 | 33.0882 | 93
94 | 191.3953 | 266.6783 | 13.1898 | 33.3549 | 94
95 | 189.8135 | 264.4743 | 13.3796 | 33.6193 | 95
96 | 188.2448 | 262.2886 | 13.5678 | 33.8816 | 96
97 | 186.689 | 260.1209 | 13.7545 | 34.1417 | 97
98 | 185.1462 | 257.9712 | 13.9397 | 34.3997 | 98
99 | 183.616 | 255.8392 | 14.1233 | 34.6556 | 99
100 | 182.0985 | 253.7248 | 14.3054 | 34.9093 | 100
101 | 180.5936 | 251.6279 | 14.486 | 35.1609 | 101
102 | 179.1011 | 249.5483 | 14.6651 | 35.4105 | 102
103 | 177.6209 | 247.4859 | 14.8427 | 35.6579 | 103
104 | 176.153 | 245.4406 | 15.0188 | 35.9034 | 104
105 | 174.6972 | 243.4122 | 15.1935 | 36.1468 | 105
106 | 173.2534 | 241.4005 | 15.3668 | 36.3882 | 106
107 | 171.8215 | 239.4054 | 15.5386 | 36.6276 | 107
108 | 170.4015 | 237.4269 | 15.709 | 36.865 | 108
109 | 168.9932 | 235.4647 | 15.878 | 37.1005 | 109
110 | 167.5966 | 233.5187 | 16.0456 | 37.334 | 110
111 | 166.2115 | 231.5888 | 16.2118 | 37.5656 | 111
112 | 164.8379 | 229.6748 | 16.3767 | 37.7953 | 112
113 | 163.4756 | 227.7767 | 16.5401 | 38.0231 | 113
114 | 162.1245 | 225.8942 | 16.7023 | 38.2489 | 114
115 | 160.7847 | 224.0273 | 16.863 | 38.473 | 115
116 | 159.4559 | 222.1759 | 17.0225 | 38.6952 | 116
117 | 158.138 | 220.3397 | 17.1806 | 38.9155 | 117
118 | 156.8311 | 218.5187 | 17.3375 | 39.134 | 118
119 | 155.535 | 216.7128 | 17.493 | 39.3507 | 119
120 | 154.2496 | 214.9218 | 17.6473 | 39.5656 | 120